Certified Facilities

Most Frequently Cited Deficiencies - Health

July 1, 2025 – December 31, 2025

Statewide										Number of Citations

| F880 | Infection prevention and control | 118 |
| --- | --- | --- |
| F689 | Free of accident hazards/supervision/devices | 91 |
| F812 | Food procurement, store/prepare/serve – sanitary | 81 |
| F658 | Services provided to meet professional standards | 79 |
| F677 | ADL care provided for dependent residents | 54 |
| F600 | Free from abuse and neglect | 53 |
| F684 | Quality of care | 52 |
| F761 | Label/store drugs and biologicals | 51 |
| F584 | Safe/clean/comfortable/homelike environment | 46 |
| F695 | Respiratory/tracheostomy care and suctioning | 44 |

Certified Facilities

Most Frequently Cited Deficiencies – Life Safety Code

July 1, 2025 – December 31, 2025

Statewide										Number of Citations

| K353 | Sprinkler system – maintenance and testing | 71 |
| --- | --- | --- |
| K920 | Electrical equipment – power cords and extension cords | 44 |
| K712 | Fire drills | 38 |
| K222 | Egress doors | 37 |
| K741 | Smoking regulations | 34 |
| K363 | Corridor – doors | 33 |
| K321 | Hazardous areas-enclosure | 33 |
| K923 | Gas equipment – cylinder and container storage | 31 |
| K345 | Fire alarm system – testing and maintenance | 29 |
| K161 | Building construction type and height | 26 |
| K324 | Cooking facilities | 25 |
| K374 | Subdivision of building spaces – smoke barrier | 25 |

Certified Facilities

Most Frequently Cited Deficiencies – Emergency Preparedness

July 1, 2025 – December 31, 2025

Statewide										Number of Citations

| E039 | EP testing requirements | 12 |
| --- | --- | --- |
| E004 | Develop EP plan, review and update annually | 9 |
| E037 | EP training program | 7 |
| E035 | LTC and ICF/IID sharing plan with patients | 5 |
| E030 | Names and contact information | 5 |
| E026 | Roles under a waiver declared by secretary | 5 |
| E025 | Arrangement with other facilities | 4 |
| E036 | EP training and testing | 3 |
| E001 | Establishment of the Emergency Program (EP) | 3 |
| E041 | Hospital CAH and LTC Emergency Power | 3 |
| E015 | Subsistence needs for staff and patients | 3 |