Residential Care Facilities (Former RCF I)

Most Frequently Cited Deficiencies - Health

July 1, 2025 – December 31, 2025

Statewide

| 86.032 (2) | Substantially constructed and maintained |
| --- | --- |
| 86.042 (18) | TB screen residents/staff |
| 86.032 (13) | Electrical wiring, maintained, inspected |
| 86.022 (9)(C) | Fire alarm system – test/maintain |
| 86.032 (18) | Extension cords/duplex receptacles |
| 86.022(12)(C) | Emergency lighting – battery powered, 1.5 hrs. |
| 86.042 (51) | Safe/effective medication system |
| 88.010 (4) | Resident rights – admission/annual review |
| 86.022 (10)(A) | Hazardous area requirements |
| 86.022 (11)(B) | Sprinkler system maintenance/testing |
| 86.022 (15)(A) | Wastebaskets, metal/UL/FM – requirements |
| 86.032 (22) | Furniture/equipment, provide comfort and safety |
| 86.032 (34) | Hot water 105-120 degree F |
| 86.042 (11)(A) | Criminal background check request |
| 87.020 (5) | Toxic material storage |
| 87.020 (39) | Inspect/rodent control |
| 87.030 (13) | Food – protected, temp, need to contact DHSS |
| 88.010 (25) | Report A/N to DHSS/DMH when needed |

Residential Care Facilities (Former RCF II)

Most Frequently Cited Deficiencies

July 1, 2025 – December 31, 2025

Statewide

| 86.032 (13) | Electrical wiring, maintained, inspected |
| --- | --- |
| 86.032 (23) | Rooms neat, orderly, cleaned daily |
| 86.022 (9)(C) | Fire alarm system – test/maintain |
| 86.032 (2) | Substantially constructed and maintained |
| 87.020 (15) | Walls/ceilings/doors/windows clean |
| 86.022 (5)(E) | Fire drill records |
| 86.022 (10)(A) | Hazardous area requirements |
| 86.022 (11)(B) | Sprinkler system maintenance/testing |
| 86.043 (4) | Operator/Administrator responsibilities |
| 86.043 (49) | Safe/effective medication system |