Residential Care Facilities (Former RCF I)

Most Frequently Cited Deficiencies - Health

January 1, 2026 – March 31, 2026

Statewide

| 86.032 (13) | Electrical wiring, maintained, inspected |
| --- | --- |
| 86.032 (23) | Rooms neat, orderly, cleaned daily |
| 86.042 (51) | Safe/effective medication system |
| 88.010 (29) | Privacy/dignity |
| 86.022 (9)(C) | Fire alarm system – test/maintain |
| 86.032 (2) | Substantially constructed and maintained |
| 86.032 (10) | Heaters-approved label, venting, no portable |
| 86.032 (18) | Extension cords/duplex receptacles |
| 86.042 (18) | TB screen residents/staff |

Residential Care Facilities (Former RCF II)

Most Frequently Cited Deficiencies

January 1, 2026 – March 31, 2026

Statewide

| 86.032 (2) | Substantially constructed and maintained |
| --- | --- |
| 86.032 (13) | Electrical wiring, maintained, inspected |
| 86.022 (5)(D) | Fire drill requirements, evacuation |
| 86.022 (9)(C) | Fire alarm system -test/maintain |
| 86.022 (10)(A) | Hazardous area requirements |
| 86.022 (11)(B) | Sprinkler system maintenance/testing |
| 86.022 (17) | Oxygen storage requirements |
| 86.022 (6)(A)1.– 3. | Fire safety training requirements - employees |
| 86.022 (8)(C) | Exit sign-illumination |
| 86.032 (18) | Extension cords/duplex receptacles |